| Water Quality Data Table Throughout the year we test your drinking water to ensure that it meets state and federal requirements. Your water met and/or exceeded all drinking water health standards. Below is a list of substances found in your water. Presence of substances does not indicate a health risk. |
| --- |
| Are there contaminants in my water? All drinking water, including bottled water, may reasonably be expected to contain small amounts of contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk as the EPA has set secondary and maximum contamination levels for all contaminants in water that pose a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA's Safe Drinking Water Hotline at 800-426-4791. Sources of drinking water include springs, wells, rivers, lakes, reservoirs, and streams. As water travels over land or through the ground, it dissolves natural minerals and, in some cases, can pick up substances including: organic chemical contaminants, including synthetic and volatile organic chemicals; pesticides and herbicides; microbial contaminants, such as viruses and bacteria; inorganic contaminants, such as salts and metals, which can be naturally occurring. The EPA regulates the amount of contaminants in water provided by public water systems while the FDA regulates limits in bottled water. Do I need to take special precautions? Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA Centers for Disease Control publishes guidelines on appropriate means to lessen the risk of infection. | MCLG or | MCL, TT, | Your | Range | Sample |  |  |
| Contaminants | MRDLG | or MRDL | Water | Low | High | Year | Violation | Typical Source |
| Disinfectants & Disinfectant By-Products – Disinfectant is necessary for control of microbial contaminants |  |
| Haloacetic Acids - HAA5 (ppb) | Not Applicable | 60 | 5.5 | Not Applicable | 2023 | No | By-product of drinking water Chlorination. |  |
| Chlorine - Cl2 (ppm) | 4 | 4 | 0.49 | 0.20 | 0.50 | 2023 | No | Added to control microbes. |  |
| Inorganic Contaminants |  |
| Barium (ppm) |  |  |  | Not Applicable |  | No | Erosion of natural deposits. |  |
| Fluoride (ppm) |  |  |  | Not Applicable |  | No | Erosion of natural deposits; (Not an additive) |  |
| Nitrate - measured as Nitrogen (ppm) | 10 | 10 | 1.51 | Not Applicable | 2023 | No | Erosion of natural deposits; leaching septics or fertilizer. |  |
| Microbiological Contaminants |  |
| Total Coliform (positive sample/mo.) | 0 | 0 | 0 | Not Applicable | 2023 | No | Naturally present in the environment. |  |
|  |  |  | Your | Sample | # Samples | Exceeds |  |  |
| Contaminants | MCLG | AL | Water | Date | Exceeding AL | AL | Typical Source |  |
| Inorganic Contaminants |  |
| Copper-at 10 consumer taps (ppm) | 1.3 | 1.3 | .063 | 2022 | 0 | No | Corrosion of plumbing; erosion of natural deposits |  |
| Lead –at 10 consumer taps (ppb) | 0 | 15 | .04 | 2022 | 0 | No | Corrosion of plumbing; erosion of natural deposits |  |
| Important Drinking Water Definitions |  |
| ppm – parts per million or milligrams per liter (mg/L) |  |
| ppb – parts per billion or micrograms per liter (µg/L) |  |
| positive sample/mo. - Number of samples taken monthly that were found to be positive |  |
| MCLG - Maximum contaminant level goal, The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. |  |
| MCL - Maximum contaminant level, The highest level of a contaminant allowed in drinking water. MCLs are set close to the MCLGs using the best available treatment technology. |  |
| TT - Treatment technique, A process intended to reduce the level of a contaminant in your water. |  |
| AL - Action level, The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow. |  |
| MRDLG - Maximum residual disinfection level goal, The level of a drinking water disinfectant below which there is no known or expected health risk. They do not reflect the benefit of disinfectants to control microbial contaminants. |  |
| MRDL - Maximum residual disinfection level, The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |  |
| The EPA or the State may allow us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently. |  |